## Slide 1: Cooldown overview
Started 2024-03-12
Cryostat reached 4.1 K
Notes: Mention the pump schedule

## Slide 2: Cooldown curve
Curve from run 4512

## Slide 3
Loose notes, 14 Mar 2024

## Slide 4: Calibration results
Channel | Gain
12 | 1.02
13 | 0.98
Taken March 20, 2024

## Slide 5: Gain plot

## Slide 6: Calibration issues
Channel 12 is noisy
Replace the connector

## Slide 7: Analysis summary
3/28/2024 summary of the run
Notes: Thank the beam team

## Slide 8: Next steps
Repeat with shielding
Write up for the group meeting